Congo Red Assay

Materials

- Test tube

- 1cm cuvette

- Pipettor or Syringes

- UV-VIS Spectrophotometer

Reagents

- Buffer Solution (150mM NaCl, 5mM KH2PO4, pH 7.40)

- 5M solution of Congo Red in the above buffer solution (made from 100M stock solution)

- Peptide to be analyzed - dissolved 1mg/mL in above buffer solution

Procedure

- Turn on UV-VIS Spectrophotometer, and allow 60 minutes for lamp to warm up.

- Take a blank spectrum of the Buffer Solution.

- Add 30L of Peptide Solution to a test tube.

- Add 5970L of 5M Congo Red solution to the test tube.

- Incubate at room temperature for 30 minutes.

- Take sample spectrum.

- Calculate Congo Red Bound via the following formula:

Cb[M} = (A540  25,295) - (A477  46,306)