# Apparatus

5ml syringe

Pyrex test tube

Plastic test tube

500mL beaker

Hot plate

Thermometer

Avanti Mini-Extruder

Extruder stand / Stabilizer block

1000Å polycarbonate membrane

Lyophilizer

Sephadex G-25 Affinity Chromatography Column

Blacklight

# Reagents

Egg Phosphatidylcholine (20mg/ml in Chloroform)

Sterol – Cholesterol or Ergosterol (20mg/ml in Chloroform)

Pyranine (50mM solution, 15mM K2HPO4, pH 7.20)

FCCP (2mM solution in ethanol)

Internal Buffer – 200mM KCl, 15mM K2HPO4, pH 7.20

External Buffer – 315mM Sucrose, 15mM K2HPO4, pH 7.20

Liquid Nitrogen

Argon

# Procedure

Dry down 50mg EggPC - PERFORM IN FUME-HOOD

- Weigh Empty Pyrex test tube, and record mass.

- Using 5mL syringe, measure out 2.5mL of EggPC, and transfer to Pyrex test tube.

- Attach a glass pasteur pipette to an Argon source via a rubber tubing, and set pressure to small steady flow.

- Dry down EggPC until there is an even thin film around the inside of the test tube.

- Use one hand to rotate test tube on its side, and use the other hand to insert the pipette into test tube to give a flow of Argon

- Be careful not to touch the pipette tip to the inner sides of the test tube

- Use parafilm to cover test tubes, and poke tiny holes through parafilm.

Lyophilize EggPC

Starting

- Turn on lyophilizer machine.

- Wipe all moisture from inside cooling chamber with paper towels.

- Ensure all ports are closed - bevel opposite nozzle.

- Press MAN button to start refrigeration, and wait until temperature reaches -40C.

- Attach beaker holder cover to nozzle on one port.

- Press Purge to turn purge off, and then press Vacuum.

- Wait until vacuum has reached less than 133 x 10-3 mbar.

- Freeze test tube containing dryed EggPC by using liquid nitrogen, and place test tube in beaker.

- Attach beaker to cover holder.

- Open port leading to beaker (bevel towards nozzle), and wait until vacuum has set.

- Freeze-dry in lyophilizer for 30 minutes.

Stopping

- Turn bevel on port away from nozzle to release vacuum from beaker.

- Remove beaker containing test tubes.

- Remove beaker holder cover.

- Press MAN button to stop cooling system.

- Press Vacuum button to stop vacuum system (purge will automatically come on).

- Open port slightly to slowly release all pressure from machine.

- Turn off lyophilizer machine.

- Weigh pyrex test tube containing lyophilized EggPC.

Amount of EggPC = (Mass of Test tube with lyophilized EggPC) – (Mass of Empty test tube)

Add sterol (if needed) and dry down again

- Using    250L syringe, add the amount of sterol to lyophilized EggPC corresponding to 10% sterol and 90% lipid according to this formula:

Cholesterol:

Ergosterol:

- Dry down sterol using the same technique as above.

- Use parafilm to cover test tube and poke holes through parafilm.

Lyophilize EggPC:Sterol mixture

- Freeze-dry EggPC:Sterol using the same technique as above.

- Weigh pyrex test tube containing lyophilized EggPC:Sterol.

Amount of Sterol = (Mass of test tube with lyophilized EggPC:Sterol) – (Mass of test tube with lyophilized EggPC)

Amount of EggPC:Sterol = (Mass of test tube with lyophilized EggPC:Sterol) – (Mass of empty test tube)

Disperse lyophilized EggPC:Sterol in Internal Buffer

- For 40-50mg of EggPC, add 3mL of Internal Buffer to lyophilized dried EggPC:Sterol in pyrex test tube.

- Vortex like a maniac to remove lipids from sides of test tube and disperse it well.

- Add an amount of pyranine to make a solution of final pyranine concentration of 2mM according to the following formula:

Let x = volume of pyranine to add (in mL)

Let y = volume of Internal Buffer added (in mL)

(y + x)(2mM) = (50mM)(x)	 x=2y/48 mL

2mM = desired concentration of pyranine in the resultant solution

50mM = concentration of stock solution of pyranine

- Vortex like a maddog to mix pyranine in dispersed lipids.

- Transfer contents of pyrex test tube into a plastic centrifuge test tube.

- Parafilm well, and poke holes.

Freeze/Thaw fluorescent lipids

- Retrieve a large dewer, and fill with approximately 0.5L of liquid nitrogen (for freezing).

- Prepare a water bath of 30-40C in a beaker (for thawing).

- Using a tong, place plastic test tube containing fluorescent lipid into liquid nitrogen to freeze.

*** Ensure that it is frozen completely - it should not look fluorescent ***

- Place test tube in water bath to thaw.

- Repeat steps 3 and 4 for a total of 10 times (Make sure you keep track on paper)

- If desired, the lipids can be stored in the -70C freezer after the 10th freeze.

Extrude EggPC:Sterol Vesicles

- Setup Avanti Mini-Extruder apparatus as above.    Refer to www.avantilipids.com for further details under 'Extruder'.

- Fill one syringe (1mL syringe) with fluorescent lipids, and insert on one side of apparatus.

- Insert the empty syringe on the other side of the apparatus.

- Place apparatus in Extruder stand / Stabilizer block.

- Push syringe plunger back and forth at least 11 times to filter the lipids through the 1000Å polycarbonate membrane.

*** Go slowly to avoid breaking membrane

*** Turbidity should decrease, and vesicle solution should begin to become clear like Mountain Dew (make sure you can see the numbers on the syringe)

- Transfer extruded vesicles into pyrex centrifuge tube with increments, so that the total volume of the vesicles can be measured.

- Repeat steps 2-6 for remaining lipid that requires extrusion.

- Record the final volume of extruded vesicles.

Run extruded vesicles through Sephadex G-25 Affinity Chromatography Column

Note:    	whenever adding liquid to column, use a pipette (and do not break it inside column)

Make sure you have a beaker underneath the column to collect liquid

*** never let column dry out ***

- Run external buffer through column for equilibration.

- When external buffer has run through (no more external buffer on top of column), pipette extruded fluorescent columns into column.

The vesicles containing pyranine should flow faster than the pyranine molecules that resided outside of the vesicles.

Use blacklight to observe fluorescence.

- Once fluorescent vesicles has run through top of column, add external buffer on the top.

- Collect amount of fluorescent vesicles according to the following equation:

??????

- Dilute vesicles to 2mg/ml with external buffer.

Add FCCP

- Add the volume of FCCP stock solution to the fluorescent vesicles to give a final FCCP concentration of 3M according to the following formula:

Let x = volume of 2000M stock solution of FCCP to add (in mL)

Let y = volume of 2mg/ml of vesicles in external buffer (in mL)

(y + x)(3M) = (2000M)(x)	 x = 3y/1997 mL

- Vortex solution well to distribute FCCP into vesicles.