SOP: For overlaying images on Photoshop

- Click on fluorescent image

- Select all

- Copy

- Paste into one channel on corresponding visible picture (make sure only one channel is selected…it will be blue)  *Note: if more than one overlay, choose separate channels for each picture

SOP: For printing quality Pictures on the PG3000

- Attach heavy cable adaptor on left side of printer

- Plug in printer

- Turn on (switch on left side)

- If need to change water:

  - open front door

  - remove water adaptor

  - remove water tank and refill with nanopure water to vertical marking

  - Reinstall tank and reattach adaptor

  - Close door

- Make sure “full print” size is selected.  Never use half sheets

- Select “thick and glossy”

- When LCD shows “Data ready”, the printer is ready.

- To print:

  - File

  - Export PG3000

  - Resize print:  Image, image size

  - Click print

- To calibrate colors (if needed)

  - print standard colors

  - run sheet through calibrator on top of printer

- When finished, turn off printer