Making Amphotericin Solutions

- Determine percent AmB of Fungizone, Ambisome, Ablecet etc.

- Make 100mM stock solution in either buffer or H20

Example:  If 75% of Fungizone is AmB, how much Fungizone should be added to 25ml to make a soluntion of 150mM AmB?

FW=924.09g

150mM (1mole)  =0.15M(0.025L)=0.00375mol AmB

(1000mM)

0.00375mol(924.09g/mol)=3.47g AmB

3.47g/0.75=4.63g Fungizone

- Remember to account for dilution when calculating the       concentration of AmB in the cuvette.

- Different buffers may be used, the solubility of AmB may change depending on the buffer used.

- Light sensitivity-keep in dark

Quantifying Amphotericin Solutions

- Methanol is used to quantify AmB because of the high absorbance at 406nm.

- Using Beer’s law A=cl extinction coefficient 150,000 , the concentration of AmB in solution can be easily found.  Remember to include dilutions when back calculating.

Using Cary-50

- Allow sufficient warm-up time, about 15mins

- Make sure water is turned on.  It is essential to stabilize the temperature

- Temperature adjustment

- Set scan to Fast

- Blank

- More to learn along the way